## Slide 1
B.Tech Final Year Project — CSE (Data Science)
Volumetric CT Scan Analysis for Pulmonary Nodule Detection and Malignancy Classification Using 3D CNN Architectures
A smart system that automatically finds lung nodules in CT scans using 3D deep learning helping doctors detect lung cancer earlier and more accurately.
PROJECT GUIDE
J. Ravindra Babu
Assistant Professor
TEAM MEMBERS
B. Sandeep Raghavendra
A. Jaswanth Kumar
G. Vignan
J. Ganesh
K. Madhu

## Slide 2
02. Abstract
Lung cancer is the leading cause of cancer deaths worldwide. Early detection of small growths called nodules in CT scans can significantly improve survival rates. However, manually reviewing hundreds of scan slices is slow and prone to human error. This project presents a complete web-based application that uses a 3D deep learning model to automatically detect and locate lung nodules in CT scans. The system processes full 3D scan volumes, identifies suspicious regions, and generates diagnostic reports — acting as an AI assistant for radiologists. Trained on the LUNA16 benchmark dataset (888 CT scans), our model achieves 94.2% detection rate with only 1.79 false alarms per scan, making it suitable as a clinical screening aid.

## Slide 3
03. Objectives
🎯 Automated Detection
Build a system that can automatically find lung nodules in 3D CT scans without manual intervention.
📊 High Accuracy
Achieve over 90% detection rate while keeping false alarms low — reducing missed diagnoses.
🌐 Web Application
Create an easy-to-use web interface where doctors can upload scans and view results instantly.
📋 Report Generation
Automatically generate diagnostic reports with nodule locations, sizes, and confidence scores.
👁️ Visual Inspection
Provide an interactive slice viewer so doctors can scroll through scans and verify AI findings.
🏥 Clinical Aid
Serve as a "second reader" that assists radiologists — not replaces them — in faster screening.

## Slide 4
04. System Overview
The application has three main parts working together: a user interface, a server, and an AI engine.
🖥️ Frontend
React Web Interface
⚙️ Backend Server
Flask REST API
🧠 AI Engine
3D U-Net Model
⇄
⇄
What the User Sees
▸ Home — Overview and quick access
▸ Analyze — Upload scans and view AI results
▸ Performance — Model accuracy charts
▸ About — Team and project information
What Happens Behind
▸ Upload handler accepts CT scan files
▸ Preprocessing normalizes the 3D volume
▸ AI model scans the entire volume
▸ Results saved to database and sent to user

## Slide 5
05. Workflow
Step-by-step flow of how a CT scan goes from upload to diagnosis report.
1. Upload
CT scan file
→
2. Load Scan
Read 3D volume
→
3. Preprocess
Normalize & prepare
→
4. Split Patches
Divide into blocks
→
5. AI Analysis
3D U-Net prediction
6. Combine
Merge predictions
→
7. Find Nodules
Locate suspects
→
8. Score
Assign confidence
→
9. Save Report
Store in database
→
10. Display
Show to doctor
Total processing time: ~12 seconds per full scan volume

## Slide 6
06. Technologies Used
🧠 PyTorch
Deep learning framework used to build and train the 3D neural network model.
⚛️ React
JavaScript library for building the interactive web user interface.
🌐 Flask
Python web framework that serves as the backend server handling requests.
⚡ Vite
Modern build tool for fast development and optimized production builds.
🗄️ SQLite
Lightweight database for storing patient records and diagnostic reports.
📐 TypeScript
Typed JavaScript for more reliable and maintainable frontend code.

## Slide 7
07. Datasets & Tools
LUNA16 Dataset
The standard benchmark dataset for lung nodule detection research, used worldwide.
888 CT Scans • 1,186 Nodule Annotations
Data Format:
▸ .mhd — Metadata file (scan info)
▸ .raw — Actual 3D image data
▸ Each scan has 200–400 slices
🏥 SimpleITK
Medical imaging library for reading and processing CT scan files.
📊 NumPy & SciPy
Scientific computing libraries for handling large 3D arrays.
📈 Recharts
Charting library for performance graphs and metrics in the frontend.

## Slide 8
08. Preprocessing Strategies
Before feeding scans to the AI model, the raw data needs to be cleaned and prepared.
🔢 Intensity Normalization
CT scan values are converted to a 0–1 scale. Air and bone are clipped to focus on lung tissue.
✂️ Patch Extraction
Full scans are cut into small 3D blocks (32×64×64 pixels) the model can process one at a time.
🔄 Data Augmentation
Training patches are randomly flipped, rotated, and have noise added for better generalization.
⚖️ Class Balancing
Equal numbers of "nodule" and "non-nodule" patches prevent model bias.
Raw CT Scan
→
Normalize
→
Extract Patches
→
Augment
→
Ready for AI

## Slide 9
09. Architecture of the Project
The AI model uses a 3D U-Net design — an encoder-decoder network that learns to highlight nodules.
⬇️ Encoder (Compress)
The scan passes through 4 stages that progressively shrink the image while extracting features.
🔄 Bottleneck (Core)
The deepest layer captures the most meaningful patterns about lung tissue vs. nodules.
⬆️ Decoder (Expand)
Expands back to original size using skip connections to recover fine details.
🧱 Residual Blocks
Shortcut connections help the model train deeper without losing information.
🔗 Skip Connections
Links between encoder and decoder preserve fine spatial details.
⚡ Mixed Precision
Uses 16-bit and 32-bit math to train 2× faster with half the memory.

## Slide 10
10. Advantages
🔍 3D Analysis
Analyzes full 3D volume — capturing spatial relationships between slices that flat images miss.
⚡ Fast Results
Processes a complete CT scan in ~12 seconds vs. 15–20 minutes for manual review.
📊 High Detection Rate
94.2% sensitivity with only 1.79 false alarms per scan.
🤝 Doctor-Friendly
Designed as a helpful assistant. Doctors verify every AI finding through the slice viewer.
💻 Runs Anywhere
Supports NVIDIA GPUs, Apple Silicon, and regular CPUs — no specialized hardware required.
🌐 Web-Based
No software installation needed. Works through any modern web browser.

## Slide 11
11. Applications
🏥 Hospital Screening
First-pass screening tool to quickly clear normal scans and flag suspicious ones.
🩺 Lung Cancer Screening
Supports large-scale population screening with rapid, consistent assessment.
🏫 Medical Education
Teaching tool for medical students to understand nodule characteristics and AI diagnosis.
🔬 Research Platform
Foundation for researchers to test new AI models on standard benchmarks.
🌍 Rural Healthcare
Brings expert-level screening to areas with limited access to specialist radiologists.
⏰ Emergency Triage
Quickly identifies scans needing immediate attention in busy emergency departments.

## Slide 12
12. Limitations
📏 Small Nodule Challenge
Nodules < 3mm may be missed as the model is trained on annotations ≥ 3mm.
💾 Memory Requirements
3D data processing requires significant RAM. Training needs a powerful GPU.
📂 File Format Dependency
Currently only supports MetaImage (.mhd/.raw). DICOM not yet supported.
🔬 No Malignancy Classification
Detects nodules but does not classify them as benign or malignant.
🌐 Single Dataset Training
Trained only on LUNA16. Performance may vary on different scanners.
⚕️ Not Standalone Diagnostic
Requires expert radiologist verification for clinical decision-making.

## Slide 13
13. UML Diagrams
System Workflow Diagram
Performance Comparison Diagram

## Slide 14
14. Conclusion
We have successfully developed an end-to-end deep learning system for automated lung nodule detection. The system combines a powerful 3D AI model with an intuitive web interface, making advanced screening technology accessible and easy to use.
94.2%
Detection Rate
1.79
False Positives / Scan
~12s
Processing Time
Future Scope
🔮 Malignancy Classification
Benign vs malignant nodule prediction
☁️ Cloud Deployment
DICOM format support for hospital integration
🧠 Explainable AI
Heatmaps showing why the model flagged a region
🔒 Privacy-Preserving
Training across multiple hospitals

## Slide 15
Thank You!
Questions & Discussion
Volumetric CT Scan Analysis for Pulmonary Nodule Detection
B.Tech Final Year Project — CSE (Data Science)
KKR & KSR Institute of Technology and Sciences, Guntur
B. Sandeep Raghavendra
A. Jaswanth Kumar
G. Vignan
J. Ganesh
K. Madhu
Guide: J. Ravindra Babu, Assistant Professor